The Village of Roanoke will be conducting a free chlorine flush of its water distribution system which will be slightly different than the process used in the past. The flush will begin on Monday, September 23rd. This event will last 14 days and end on October 4th.

Currently, the Village of Roanoke uses chloramines for disinfection of the drinking water. Chloramines are created by combining chlorine and ammonia. During this free chlorine flush, the disinfection process will be changed from chloramines to free chlorine. Free chlorine is a stronger and faster-acting disinfectant. The free chlorine flush is a necessary process to eliminate any nitrification or build up in the distribution system. Buildup can cause a reduction in the effectiveness of residual disinfectants over time. The fire hydrants will be opened to allow flushing of the system to help remove sediment from the pipes and distribute the change in disinfectant.

Possible Noticeable Effects: It is important to understand that during this temporary change, there may be some discoloration or cloudiness in the water and possibly a slight chlorine odor or taste. If this is experienced, customers may want to run the water through the tap until it clears. Minor pressure fluctuations and small air pockets may also occur. Fire hydrant flushing should remove a majority of the color and odor, but some may reach customer lines during the process.

Is the Water Safe to Drink?  Yes, the water is safe to drink throughout this process. Any odor and color issues will be a nuisance only, which will subside as the flushing is completed. Discoloration in laundry is possible during this time. Cleaning additives are readily available at local stores to help prevent or remove any discoloration that may occur. Customers who use tap water for kidney dialysis at home should consult their doctor to advise them if any changes are necessary in their residual disinfectant neutralization procedures. Customers utilizing the water for aquariums should monitor both free and combined chlorine residuals.

During normal business hours, residents may call 309-923-3335 with any questions concerning the free chlorine flush. The Village of Roanoke Water Department appreciates residents’ patience and understanding as it works to further improve the quality of the water for all customers.